## Cover Letter
Date: 7 November 2016
For the attention of: Head Teacher / Head of Centre and Chair of Governors
cc: Business Manager, Bursar, Site Manager
From: Birmingham City Council
RESPONSE IS REQUIRED BY 16 DECEMBER 2016
Dear Colleague,
Mandatory Annual Return Form - Statutory Testing of Plant & Equipment 2016-17 and Key Safety Arrangements - 2017-18
Thank you for completing your 2015-16 Statutory Testing Annual Return. As this is an annual requirement please complete and return the enclosed new Annual Return Form (Annual Declaration of Compliance) for 2017-18, which now incorporates both your statutory testing and safety arrangements. However you are not required to return a completed copy of the attached 'Checklist for Statutory Testing & safety arrangements for 2017-18' - this is provided for your guidance and use as a record of your statutory testing and safety arrangements and could be produced for inspection by the LA as part of an audit. I would be grateful if you could complete and sign the new Annual Declaration of Compliance Form and email to edsi.enquiries@birmingham.gov.uk. This confirms that you have completed all of the relevant testing of plant and equipment for 2017-18 together with any recommended remedial works and that key safety arrangements are in place for your schools mgmt of health & safety. It also confirms that you have made arrangements to complete the statutory testing for the year 2016-17. If there are any outstanding tests or remedial works from 2015-16 or any actions required to bring your Asbestos Management Plan up to date, then please also complete the Outstanding Issues Report Form and email to EdSI along with your signed Annual Declaration of Compliance Form.
You will be aware that schools and other premises where services are provided to children and young people including nurseries, Children's Centres and other Early Years properties are responsible for arranging all statutory testing for their premises. As the Duty Holder of your establishment, you are required to ensure that all relevant statutory and recommended testing of equipment and plant is carried out at the required frequency and that you keep all relevant records. Please note that this requirement is not optional and failure to comply will contravene Health & Safety legislation and may result in a fine or even imprisonment of the offender and invalidation of your school insurance cover. All Head Teachers and Centre Managers as Duty Holders of their premises remain responsible for making the necessary arrangements even though you may choose to delegate certain activities to other staff members.
All employers have legal duties to ensure that appropriate arrangements have been made regarding premises checks on their sites. For Voluntary Aided, Foundation Schools and Academies, the employer is the Governing Body. For Community schools and Voluntary Controlled Schools, the employer is the Local Authority; however, the Local Authority’s budget for premises-related costs is delegated to its maintained schools and it is therefore the responsibility of all Duty Holders in Local Authority maintained schools to organise and ensure that these checks have been completed and that any recommended remedial works have been actioned. Confirmation of the actions taken must be reported to the Governing Body, which is legally responsible for the premises and for the school’s health & safety policies and procedures.
The Duty Holder is obliged to ensure that written records of all tests are retained at school. These records may be required as proof of when and by whom the test was completed or the recommended remedial action implemented. The records may be requested as part of a Health and Safety Inspection and Statutory Compliance Audit of the premises. Where the appropriate checks have not been completed or cannot be evidenced, the Health and Safety Executive (HSE) or the Fire Officer, may take action against the school, the employer or both.
This year we have simplified our requirements and are not asking you to return the completed statutory testing checklist. However, you are still required to complete the statutory testing checklist for your own records and to provide to the LA for inspection as part of any audit.
Local Authority Requirements and Support for Schools
Please note that this year we are providing the information in two parts. Part one (Return Forms) includes the forms that you are required to complete and return to EdSI. Part two (Guidance and Checklist) includes the guidance notes and the statutory testing checklist which you are required to complete and retain for your records and future audit by the LA.
We require the NEW Annual Return Form (Annual Declaration of Compliance) for 2016-17 to be completed, signed by the Head Teacher and the Chair of the Governing Body, scanned in PDF and returned via email to:edsi.enquiries@birmingham.gov.uk. Where there may be outstanding tests, remedial works or actions relating to keeping an up to date asbestos management plan then we also require that the Outstanding Issues Report Form to be completed and emailed to EdSI in Excel format along with the signed declaration form.
The Local Authority requires each maintained school to confirm on an annual basis that all necessary statutory testing and compliance works have been carried out and arrangements for the schools mgmt of health & safety are in place . We may also be contacting you to carry out an audit of your Property Logbook, Statutory Testing Checklist, Asbestos Management Plan and safety arrangements to ensure that the required information and documents are in place and kept
Where you have not carried out the checks or evidence cannot be provided, the Local Authority may be required to make the necessary arrangements on your behalf and all associated charges will be claimed from your school. However, this is very much a case of last resort and will be discussed with you prior to implementation.
Further information on the testing requirements can be found in the Property Logbook. If you need advice or guidance on these or any other property matter, please do not hesitate to contact your Education Asset Management Officer on tel. 0121 303 8847 or email:
edsi.enquiries@birmingham.gov.uk for other safety issues contact Education Safety Services tel: 303 2420 or email: schoolsafety@birmingham.gov.uk
Duty Holder Training
Birmingham City Council Education Asset Management have been running a series of training sessions for Duty Holders. The one day Duty Holder training session aims to raise awareness about duty holder responsibilities and covers health and safety legislation, management of asbestos, legionella, contractors, keeping an up to date Property Logbook and the Landlord /Local Authority approval process. There is also a dedicated training session to assist schools with keeping an up to date Asbestos Management Plan. If you have not yet attended or would like more information then please email Education Asset Management for further details at: edsi.enquiries@birmingham.gov.uk.
Yours sincerely,
Jaswinder Didially
Head of Education Infrastructure

## Guidance Notes
GUIDANCE NOTES
This is a brief guide to help you complete the Mandatory Statutory Return Form for 2016-17
Q 1. Why do I need to make arrangements for statutory testing?
A. .Your school/centre has a legal duty to ensure that all statutory testing of equipment and plant are carried out at the required frequency. The Head Teacher/Governing Body/Centre Manager, as the Duty Holder/Responsible person on site, needs to make the necessary arrangements to comply with the testing requirements.
Q 2. Why do I need to make arrangements for the management of health and safety?
Overall accountability for health and safety lies with the employer of the members of staff in the school. However headteachers and the school management teams, in consultations with governors, have considerable autonomy in the day to day running of their schools inclucing responsibility for the health and safety of staff, pupils and visitors. Therefore effective management of health and safety is required.
Q3. Why do I need to have an up-to-date Asbestos Management Plan
A. This is a legal requirement and you must ensure that you keep an up-to-date Asbestos Management Plan. Please note that this is separate to the asbestos management survey, although the asbestos management plan is informed by the asbestos management survey. Should you require support and advice please contact your Education Asset Management Officer or your Safety Officer.
Q 4. Do all schools /centres need to complete the New Annual Return Form (Annual Declaration of Compliance) ?
A. All Local Authority Maintained Schools/Nurseries, Children's Centres and other BCC-owned education centres are required to complete , sign and return the new Annual Return Form. You are asked to email your completed form to edsi.enquiries@birmingham.gov.uk by 16 December 2016. Where there are outstanding tests or remedial works then you are also required to complete the Outstanding Issues Report Form and email to EdSI. These actions are required by all Community, Voluntary Controlled, Voluntary Aided and Foundation schools. Academies are not required to complete and return the form. For any issues relating to your 'Key Safety Arrangements' you can contact Education Safety Services tel: 303 2420 or email: schoolsafety@birmingham.gov.uk
Q5. Do I need to complete and return the statutory testing checklist?
A. No, for 2016-17 we are not requesting that you return the completed checklist. The checklist is being provided for your use, reference and guidance. Please complete the checklist and retain as a record of tests and remedial works carried out. Also, please note that we will request this information as part of carrying out audits of statutory testing records and asbestos management plans. Please note that this is not an exhaustive list and your are required to seek technical and specialist advice to ensure that all relevant testing and checks for your site are carried out and you are compliant with the statutory requirements.
Q6. Does the statutory testing arrangement need to cover all buildings on my site?
A.Yes, normally you are required to cover all buildings including BSS House, Children's Centres and any buildings for which your school/governing body/centre is responsible for. Where there may be a lease/licence/management agreement in place for buildings occupied by other users, and where the responsibility for statutory testing has been placed with the leasee/occupier, then you still need to ensure that the necessary statutory testing has been completed. That is, the occupier can provide you with evidence that arrangements are in place for completing the testing requirements.
Q 7. Do I need to arrange for statutory testing of equipment in our catering kitchen?
A. You are responsible for ensuring that statutory testing for all buildings and areas including the school kitchen is carried out. If, as part of your service contract with your catering provider, you have an agreement for the catering provider to cover elements of testing, then please check with your provider what exactly is included and what is excluded. Even where you may have commissioned your catering provider to complete the statutory testing in the kitchen, you may still be expected to arrange for certain activities (e.g. cleaning of extractor canopy). Please note that you will remain responsible for ensuring that all tests are completed and can be evidenced accordingly.
Q 8. How do I obtain advice and support with completing the Mandatory Annual Return form?
A. Further information on the testing requirements can be found in your Property Logbook. If you need advice or guidance on these or any other property matter, please contact your Education Asset Management Officer on tel: 0121 303 8847 or email:
edsi.enquiries@birmingham.gov.uk For any issues relating to your 'Key Safety Arrangements' please contact Education Safety Services tel: 303 2420 or email: schoolsafety@birmingham.gov.uk
Q9. Do I need a 3-yearly or 5-yearly test on our fixed electrical wiring?
A. The norm for Periodic Electrical Testing is 5 years maximum. For a pool area which includes hydrotherapy pools there is an annual requirement for testing. For areas that have residential children there is a requirement for testing to be carried out every 3 years.

## Statutory Testing Checklist
CHECKLIST of Statutory Testing of Equipment and Plant and your Key Safety Arrangements - 2017-18
(To be completed and retained for your records and future audit)
(Do not return to EdSI as part of the annual return)
For School Use, Reference, Guidance and Records - You are NOT required to send the completed checklist as part of the 2016-17 Mandatory Annual Return (Declaration of Compliance). This checklist is to be completed and kept for your own records and to be produced for inspection by the LA as part of any audit. You are required to sign and return the New Annual Declaration of Compliance Form and also - where applicable - the Outstanding Issues Report Form listing any outstanding tests, remedial works etc. For any issues relating to your 'Key Safety Arrangements' please contact Education Safety Services tel: 303 2420 or email: schoolsafety@birmingham.gov.uk Please note that this checklist is not an exhaustive list and you are required to seek technical and specialist advice to ensure that all relevant testing and checks for your site are carried out and you are compliant with the statutory requirements.
1. ASBESTOS MANAGEMENT | 1.1 Asbestos Management Survey | Survey is available for inspection by contractors, surveyors, Health & Safety and EAM team
| 1.2 Asbestos Management Plan | Plan is in place and available for inspection
Date of Plan last update
| 1.3 Asbestos Register | Register is available to contractors for inspection and completion
Date of Register last update
2. CATERING EQUIPMENT | 2.1 Kitchen canopy supply and extraction systems | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 2.2 Gas Air tempering unit on input air | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 2.3 Gas catering equipment/ appliances | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 2.4 Static electrical catering equipment | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 2.5 Interlocking ventilation, gas and proving | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 2.6 Kitchen air quality | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 2.7 Kitchen hygiene report | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
3. ELECTRICAL EQUIPMENT | 3.1 Fixed electrical wiring, 5 years | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.2 Fixed electrical wiring, 3 years | If required, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.3 Fixed electrical wiring, annual | If required, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.4 High voltage switch gear/ transformers | If required, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.5 RCD/RCBO | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.6 Portable electrical appliances tests | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.7 Floodlighting/ stage lighting | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.8 Lightning conductors | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 3.9 Automatic doors and barriers | If present, date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
4. EMERGENCY LIGHTING, ALARMS AND FIRE PROTECTION | 4.1 Emergency lighting | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.2 Fire alarms (Residential) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.3 Fire alarms (Non-residential) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.4 Intruder alarms | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.5 Personal assistance alarms | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.6 Poolside alarms | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.7 Sprinkler systems | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.8 Non-automatic fire fighting systems | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 4.9 Fire risk assessment | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
5. GAS APPLIANCES AND GAS SAFETY EQUIPMENT | 5.1 Gas boilers | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.2 Gas fires | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.3 Boiler house safety system (hazardous fumes) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.4 Gas water heaters | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.5 Maintenance of gas pipe work installations | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.6 Gas proving systems | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.7 Flue inspections | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 5.8 Gas appliances not listed previously | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
6. LIFTS AND LIFTING EQUIPMENT | 6.1 General lifting equipment (including hoists) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 6.2 Non-passenger carrying lifts | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 6.3 Passenger lifts | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 6.4 Fall arrest systems (eye bolts etc.) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
7. OIL FIRED BOILERS INCL. FLUES AND CHIMNEYS | 7.1 Oil fired boilers | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 7.2 Oil storage tanks | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
8. WATER TREATMENT | 8.1 Weekly Legionella tests carried out | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 8.2 Monthly Legionella tests carried out | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 8.3 Six-monthly Legionella tests carried out | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 8.4 Annual Legionella tests carried out | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 8.5 Risk assessment to comply with the latest guidance under L8 | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 8.6 Blending valves (scalding risk) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 8.7 Sewage pumps and chambers | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
9. MISCELLANEOUS | 9.1 Design technology and scientific equipment | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.2 Dust and fume extraction | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.3 CCTV | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.4 Physical education equipment | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.5 Pressurised systems | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.6 Display Energy Certificates | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.7 Sump pump and alarms thereto (flood) | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.8 Swimming baths and hydrotherapy pools | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.9 Petrol/LPG storage tanks | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.10 Solar panel water heating | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.11 Laundry equipment | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.12 Inspection of trees as part of annual risk assessment carried out | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.13 Five-yearly tree inspection carried out | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
| 9.14 Fixed air conditioning units | Date last tested/ inspected
Test certificate/ report is in the logbook
Name of company who carried out the test
Recommended remedial works (please list)
Date works completed/ to be completed
Comments
10. SAFETY MANAGEMENT SYSTEMS | 10.1 Policy | Does your school have a H&S Policy in place
Does it contain a general statement of intent regards your schools aims for health and safety.
Does it identify an organisational structure with clear governor and staff responsibilities?
Does it contain details of how it and other safety documents & information are communicated to staff (This includes supply teachers, student teacher, volunteers and parent helpers.)
Does the policy contain an Arrangements section?
Does the arrangements section give details of the specific systems and procedures you have in place to control the risks associated with your school. E.g. Work at heights, lone working, Play Area and Grounds, External Educational Visits, Stress/wellbeing, first aid.
Is the H&S Policy dated and signed by the Head teacher and chair of Governors? ( as appropriate to reflect the status of the school)
Has the H&S Policy been reviewed periodically? E.g. annually.
Comments
| 10.2 Safety Group or other forum | Is there an active Safety Group or other forum where safety is discussed / progressed?
Is senior management (Headteacher, governors etc.) and other stakeholders represented.
Comments
| 10.3 Risk Assessment | Have Risk Assessments been undertaken for:
· Play Areas
· PE / Sports Equipment
· Day Trips / Foreign Travel
· Staff Activities / Manual Handling
· First Aid
Comments
| 10.4 Competencies / Training | Are training needs for staff, relating specifically to safety, both identified and provided? Note: Training, relating to safety, could be identified by the risk assessments process, staff induction, staff development review processes, changed responsibilities etc.
Have appropriate staff received:
· Duty Holder Training
· Fire Marshal Training
· Asbestos Awareness & Asbestos Mgmt Plan
· Risk Assessment
Comments
| 10.5 Information | Can you confirm that you are aware that Health and Safety information and guidance is available on the Birmingham Education Support Services Website
Comments